| # | Questions | Evaluation |
| --- | --- | --- |
|  |  | Managing Director | Production | Maintenance | Purchasing | Quality | Human Resources | Marketing sales | Storing | Exporting |
|  | ISO 13485-2003 Specific Requirement |  |  |  |  |  |  |  |  |  |
|  | Review the Technical file and its contents. (Ref. MRI-05-D01.) |  |  |  |  |  |  |  |  |  |
|  | Review the Document Change Procedure, Confirm that the changes to documents are reviewed and approved either by the original approving authority. (Ref. MRP-05-01 : MRP-05-04) |  |  |  |  |  |  |  |  |  |
|  | Does at least one copy of obsolete controlled documents shall be retained. (Ref. MRP-05-01 : MRP-05-04) |  |  |  |  |  |  |  |  |  |
|  | Review retention period the records and is it equivalent to the lifetime of the product? (Ref. MRP-16-01) |  |  |  |  |  |  |  |  |  |
|  | Management review meetings included the following: (Ref. SCP-01-02) Regulatory Requirements and its impact, |  |  |  |  |  |  |  |  |  |
|  | Review the maintenance plan and its execution (Ref. FCP-09-02) specifically: Sterilization Unit Air Handling Units |  |  |  |  |  |  |  |  |  |
|  | Review the Hygiene work instruction (Ref. FCI-09-A05) |  |  |  |  |  |  |  |  |  |
|  | Check the adherence to the cleaning instructions of the used products (Ref. MK03009) |  |  |  |  |  |  |  |  |  |
|  | Check the monitoring program of ALL clean rooms (Ref. FCI-09-A01) specifically: ΔP in the clean room and its adjacent sections Temperature and RH% Maintenance Condition of the AHUs Microbiological Controls of the production areas and the PRODUCTS |  |  |  |  |  |  |  |  |  |
|  | Review the current risk analysis and its update status (Ref. MRI-05-D01) specifically: Microbiological failures, All relevant usability aspects. |  |  |  |  |  |  |  |  |  |
|  | Review the advisory notice and recall system (Ref. MKP-03-03 and SCP-14-01) |  |  |  |  |  |  |  |  |  |
|  | Review the retention of at least one copy of the material relevant purchase orders (Ref. PRP-06-02 and MRP-16-01) |  |  |  |  |  |  |  |  |  |
|  | Review the presence of the relevant work instructions and/or other activity related documents (including labeling instructions) |  |  |  |  |  |  |  |  |  |
|  | Review the Batch file and its contents (Ref. FCP-08-01) |  |  |  |  |  |  |  |  |  |
|  | Review the Sterilization Process Records and Sterilization Process Parameters (Ref. FCI-09-A04, FCI-09-V01, FCI-09-V02 and QCI-10-S16) |  |  |  |  |  |  |  |  |  |
|  | Review the sterilization process validation (Ref. FCI-09-A04, FCI-09-V01, FCI-09-V02, QCI-10-S16 and sterilizer validation protocol) |  |  |  |  |  |  |  |  |  |
|  | Review the records of the calibration (Ref. FCP-11-01) |  |  |  |  |  |  |  |  |  |
|  | Review the action if the measuring equipment was found not to conform to requirements (Ref. FCP-11-01) |  |  |  |  |  |  |  |  |  |
|  | Review the customer feedback results and its impact (Ref. MKP-03-03) |  |  |  |  |  |  |  |  |  |
|  | Review the measurement conducted on the product to verify that the product requirements have been met. (Ref. QCP-10-03) |  |  |  |  |  |  |  |  |  |
|  | Review that the nonconforming product is accepted by concession only if regulatory requirements are met. (Ref. QCP-13-01) |  |  |  |  |  |  |  |  |  |
|  | Review that the product needs to be reworked has a documented rework instruction (Ref. QCP-13-01) |  |  |  |  |  |  |  |  |  |
|  | Review the Data Analysis Procedure and its output records (Ref. QCP-20-01.) |  |  |  |  |  |  |  |  |  |
|  | Review the evidence of the suitability and effectiveness of the quality system (Ref. SCP-01-02) |  |  |  |  |  |  |  |  |  |
|  | Review Customer Complaints records (Ref. MKP-03-03) specifically check that any complaint which was not followed by a PCAR the reason should be stated |  |  |  |  |  |  |  |  |  |
|  | Review Preventive/Corrective Action and its linked investigation records (Ref. SCP-14-01) |  |  |  |  |  |  |  |  |  |
|  | MDD 93/42/EEC Specific Requirement |  |  |  |  |  |  |  |  |  |
|  | Review the current risk analysis and its update status (Ref. MRI-05-D01) specifically: Microbiological failures, All relevant usability aspects. |  |  |  |  |  |  |  |  |  |
|  | Review the current Annex I Essential Requirements Checklist (Ref. MRI-05-D01) |  |  |  |  |  |  |  |  |  |
|  | Review the vigilance system procedure and records. (Ref. MKP-03-01.) Check the presence of the competent authorities addresses |  |  |  |  |  |  |  |  |  |
|  | Check for the availability of the Technical File for at least 5 years after the last product is produced. |  |  |  |  |  |  |  |  |  |
|  | Review the advisory notice and recall system (Ref. MKP-03-03 and SCP-14-01) |  |  |  |  |  |  |  |  |  |
|  | Review the contents of the technical file and its contents (Ref. MRI-05-D01) EC Declaration of Conformity, Risk Analysis, Classification, etc…. |  |  |  |  |  |  |  |  |  |
|  | Review the NB notification process (Ref. MRI-05-D01) |  |  |  |  |  |  |  |  |  |
|  | Review the Post-Production experience records (Ref. MKP-03-03) |  |  |  |  |  |  |  |  |  |