| 21 CFR § 820 Part | 21 CFR § 820 Description | ISO 9001:2000 Section | ISO 9001:2000 Description | x Corp Quality Manual Section | x Corp Quality Manual Description |
| --- | --- | --- | --- | --- | --- |
| 820.5 | Quality System | 4.1 & 4.2.2 | General Requirements & Quality Manual | 4.1 & 4.2.2 | General Requirements & Quality Manual |
| 820.20 | Management Responsibility |  |  |  |  |
| 820.20(a) | Quality Policy | 5.1 & 5.3 & 5.4.1 | Management Commitment & Quality Policy & Quality Objectives | 5.1 & 5.3 & 5.4.1 | Management Commitment & Quality Policy & Quality Objectives |
| 820.20(b) & 820.20(b)(1) | Organization, Responsibility and authority | 5.5.1 | Responsibility and Authority | 5.5.1 | Responsibility and Authority |
| 820.20(b)(2) | Resources | 6.1 & 6.2.1 | Provision of Resources & General | 6.1 & 6.2.1 | Provision of Resources & General |
| 820.20(b)(3) | Management representative | 5.5.2 & 4.2.1 | Management Representative & General | 5.5.2 & 4.2.1 | Management Representative & General |
| 820.20(c) | Management review | 5.6.1 & 8.5.1 | General & Continual Improvement | 5.6.1 & 8.5.1 | General & Continual Improvement |
| 820.20(d) | Quality planning | 5.4.2 & 7.1 | Quality Management System Planning & Planning of Product Realization | 5.4.2 & 7.1 | Quality Management System Planning & Planning of Product Realization |
| 820.20(e) | Quality system procedures | 4.1 & 4.2.2 & 4.2.1 | General Requirements & Quality Manual & General | 4.1 & 4.2.2 & 4.2.1 | General Requirements & Quality Manual & General |
| 820.22 | Quality Audit | 8.2.2 & 8.2.3 | Internal Audit & Monitoring and Measurement of Processes | 8.2.2 & 8.2.3 | Internal Audit & Monitoring and Measurement of Processes |
| 820.25 | Personnel |  |  |  |  |
| 820.25(a) | Personnel, General | 6.1 & 6.2.1 | Provision of Resources & General | 6.1 & 6.2.1 | Provision of Resources & General |
| 820.25(b) | Training | 6.2.2 | Competence, Awareness and Training | 6.2.2 | Competence, Awareness and Training |
| 820.30 | Design Controls |  |  |  |  |
| 820.30(a) | General | 7.3 | Design and development | 7.3 | Design and development |
| 820.30(b) | Design and Development Planning | 7.3.1 | Design and Development Planning | 7.3.1 | Design and Development Planning |
| 820.30(c) | Design input | 7.2.1 & 7.3.2 | Determination of Requirements Related to Product & Design and Development Inputs | 7.2.1 & 7.3.2 | Determination of Requirements Related to the Product & Design and Development Inputs |
| 820.30(d) | Design output | 7.3.3 | Design and Development Outputs | 7.3.3 | Design and Development Outputs |
| 820.30(e) | Design review | 7.3.4 | Design and Development Review | 7.3.4 | Design and Development Review |
| 820.30(f) & 820.30(g) | Design | 7.3.5 | Design and Development Verification | 7.3.5 | Design and Development Verification |
| 820.30(h) | Design transfer | 7.3.6 & 7.1 | Design and development validation & Planning of product realization | 7.3.6 & 7.1 | Design and development validation & Planning of production |
| 820.30(i) | Design changes | 7.3.7 | Control of Design and Development Changes | 7.3.7 | Control of Design and Development Changes |
| 820.30(j) | Design history file | 7.3 & 4.2.4 | Design and development & Control of Records | 7.3 & 4.2.4 | Design and development Control of Records |
| 820.40 | Document controls | 4.2.3 | Control of documents | 4.2.3 | Control of documents |
| 820.40(a) | Document approval and distribution | 4.2.3 | Control of Documents | 4.2.3 | Control of documents |
| 820.40(b) | Document changes | 4.2.3 | Control of Documents | 4.2.3 | Control of Documents |
| 820.50 | Purchasing controls | 7.4 | Purchasing | 7.4 | Purchasing |
| 820.50(a) | Evaluation of suppliers, contractors and consultants | 7.4.1 | Purchasing Process | 7.4.1 | Purchasing process |
| 820.50(b) | Purchasing data | 7.4.2 | Purchasing Information | 7.4.2 | Purchasing information |
|  |  | 7.5.4 | Customer Property | 7.5.4 | Customer Property |
| 820.60 | Identification | 7.5.3 | Identification and Traceability | 7.5.3.1 | Identification |
| 820.65 | Traceability | 7.5.3 | Identification and Traceability | 7.5.3.2 | Traceability |
| 820.70 | Production and process controls |  |  |  |  |
| 820.70(a) | General | 7.5.1 & 7.5.2 | Control of production and service provision & Validation of processes for production and service provision | 7.5.1 & 7.5.2 | Control of production and service provision & Validation of processes for production and service provision |
| 820.70(b) | Production and process changes | 7.3.7 | Control of Design and Development Changes | 7.3.7 | Control of Design and Development Changes |
| 820.70(c) | Environmental control | 6.3 & 6.4 | Infrastructure & Work Environment | 6.3 & 6.4 | Infrastructure & Work Environment |
| 820.70(d) | Personnel | 6.2.2 & 6.4 | Competence, awareness and training & Work Environment | 6.2.2 & 6.4 | Competence, awareness and training & Work Environment |
| 820.70(e) | Contamination control | 6.4 & 7.5.1 | Work Environment & Control of Production and Service Provision | 6.4 & 7.5.1.1 | Work Environment & Cleanliness of product and contamination control |
| 820.70(f) | Buildings | 6.3 | Infrastructure | 6.3 | Infrastructure |
| 820.70(g) | Equipment | 6.3 | Infrastructure | 6.3 | Infrastructure |
| 820.70(h) | Manufacturing material | 6.4 & 7.5.1 | Work Environment & Control of Production and Service Provision | 6.4, 7.5.1 & 7.5.1.1 | Work Environment, Control of Production and Service Provision & Cleanliness of product and contamination control |
| 820.70(i) | Automated processes | 7.5.2 | Validation of processes for production and service provision | 7.5.2 | Validation of processes for production and service provision |
| 820.72 | Inspection, measuring and test equipment | 7.6 | Control of Monitoring and Measuring Devices | 7.6 | Control or Monitoring and Measuring Devices |
| 820.75 | Process validation | 7.5.2 | Validation of Processes for Production and Service Provision | 7.5.2 | Validation of Processes for Production and Service Provision |
| 820.80 | Receiving, in-process, and finished device acceptance |  |  |  |  |
| 820.80(a) | Receiving, in-process, and finished device acceptance General | 7.4.3, 8.1(a), 8.2.4, 7.1 & 8.1 | Verification of purchased product, General, Monitoring & measurement of product, Planning of Product Realization & General | 7.4.3, 8.1(a), 8.2.4 7.1 & 8.1 | Verification of purchased product, General, Monitoring & measurement of product, Planning of Product Realization & General |
| 820.80(b) | Receiving acceptance acctivities | 7.4.3 & 8.2.4 | Verification of Purchased Product & Monitoring and Measurement of Product | 7.4.3 & 8.2.4 | Verification of Purchased Product & Monitoring and Measurement of Product |
| 820.80(c) | In-process acceptance activities | 8.2.4 | Monitoring and Measurement of Product | 8.2.4 | Monitoring and Measurement of Product, |
| 820.80(d) | Final acceptance activities | 8.2.4, 8.3 | Monitoring and Measurement of Product, Control of nonconforming product | 8.2.4, 8.3 | Monitoring and Measurement of Product, Control of nonconforming product |
| 820.80(e) | Acceptance records | 7.5.3.3 & 8.2.4 | Status identification & Monitoring and Measurement of Product | 7.5.3.3 & 8.2.4 | Identification and Traceability & Monitoring and Measurement of Product |
| 820.86 | Acceptance status | 7.5.3.3 | Status identification | 7.5.3.3 | Status identification |
| 820.90(a) | Control of nonconforming product | 8.3 | Control of Nonconforming Product | 8.3 | Control of Nonconforming Product |
| 820.90(b) | Nonconformity review and disposition | 8.3 | Control of Nonconforming Product | 8.3 | Control of Nonconforming Product |
| 820.100 | Corrective and preventive action | 8.5.2 & 8.5.3 | Corrective Action & Preventive Action | 8.5.2 & 8.5.3 | Corrective Action & Preventive Action |
| 820.120 | Device labeling | 7.5.1 | Control of production and service provision | 7.5.1.1 | Control of production and service provision |
| 820.130 | Device packaging | 7.5.5 | Preservation of Product | 7.5.5 | Preservation of Product |
| 820.140 | Handling | 7.5.5 | Preservation of Product | 7.5.5 | Preservation of Product |
| 820.150 | Storage | 7.5.5 | Preservation of Product | 7.5.5 | Preservation of Product |
| 820.160 | Distribution | 7.1, 7.2.2,7.2.3, 7.5.5 & 7.5.3.2, | Planning of Product Realization, Review of Requirements Related to the Product Customer Communication, Preservation of product & Traceability | 7.5.1.2, 4.2.4 | Installation activities, Control of records |
| 820.170 | Installation- | 6.3 & 6.4 & 7.5.1 & 7.5.2 | Infrastructure & Work Environment & Control of Production and Service Provision & Validation of Processes for Production and Service Provision | 6.3 & 6.4 & 7.5.1 & 7.5.2 | Infrastructure & Work Environment & Control of Production and Service Provision & Validation of Processes for Production and Service Provision |
| 820.180 | Records, General requirements | 4.2.1, 4.2.3 & 4.2.4 | Documentation requirements, General, Control of Documents & Control of Records | 4.2.1, 4.2.3 & 4.2.4 | Documentation requirements, General ,Control of Documents & Control of Records |
| 820.181 | Device master record | 4.2.1 | Documentation requirements, General | 4.2.1 | General |
| 820.184 | Device history record | 4.2.4 | Control of Records | 4.2.4 | Control of Records |
| 820.186 | Quality system record | 4.2 | Documentation requirements | 4.2 | Documentation requirements |
| 820.198 | Complaint files | 8.5.2, & 8.5.3 | Corrective Action & Preventive Action | 8.5.1, 8.5.2 & 8.5.3 | Continual improvement, Corrective Action & Preventive Action |
| 820.200 | Servicing | 7.5.1 | Control of Production and Service Provision | 7.5.1.3 | Servicing |
| 820.250 | Statistical techniques | 8.1, 8.2.3 | Monitoring and Measurement of Processes, General, Monitoring and Measurement of Product | 8.1 & 8.2.3 | General & Monitoring and Measurement of Processes & Monitoring and Measurement of Product & Analysis of Data |

Requirements in ISO 9001:2000 not in the QSR

| ISO 9001:2000 Section | ISO 9001:2000 Description | x CorpQuality Manual Section | x Corp Quality Manual Description |
| --- | --- | --- | --- |
| 5.5.3 | Internal Communication | 5.5.3 | Internal Communication |
| 5.6.2 | Review Input (Management Review) | 5.6.2 | Review Input (Management Review) |
| 5.6.3 | Review Output (Management Review) | 5.6.3 | Review Output (Management Review) |
| 7.5.4 | Customer property | 7.5.4 | Customer property |
| 8.2.1 | Customer Satisfaction | 8.2.1 | Customer Satisfaction |