72 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | Managers | Managers meet to start preparations |
|  | Managers | Call emergency crew meetings |
|  | Managers | Decide if help is needed from off duty crews to complete preparations. |
|  | Managers | Designate Storm Watch. (typically 1 Melt Shop Electrician, 1 Roll Mill Electrician, 1 Water Systems Operator and 1 other Maintenance Person, may be adjusted as deemed appropriate) |
|  | Plant Nurse | Inventory emergency medical supplies. |
|  | Supply Warehouse | Inventory emergency supplies: Water, plastic sheeting, batteries, flashlights, tie down equipment, etc. |
|  | Purchasing Agent | Top off all fuel tanks and advise venders that other on-site contractors are going to need topping off too |
|  | Construction Supervisor | Notify all contractors to top off all fuel tanks and check generators |
|  | Maintenance Electricians | Test our generators |
|  | MIS | Perform computer back-ups |
|  | Construction Supervisor & Environmental | Cease construction and start clean up of all out side areas |
|  | Construction Supervisor & Environmental | Start preparing storm water ponds and ditches |
|  | All Departments | Check door latches for functionality. |
|  | Managers | Update phone lines. |

48 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | Managers | Managers meet to monitor storm progress and adjust time line. |
|  | Shipping | Notify rail and trucking companies not to come/no pick up as of this time. |
|  | Purchasing | Notify venders that there will be no deliveries accepted as of this time. |
|  | Managers | Update phone lines. |

16-24 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | Managers | Managers meet to monitor storm progress and adjust time line. |
|  | All Departments | Begin controlled shutdown of plant operations. |
|  | MIS | Controlled shutdown of computer systems. |
|  | All Departments | Crane tie down – Each overhead crane will be left at the end of the runway. For Category III and greater Hurricanes, the transfer pit crane, 709, 710 and all 600 series cranes shall be leashed to the end stops with cables and come-alongs. |
|  | All Departments | Move all mobile equipment into buildings and secure doors. |
|  | All Employees | Shutdown all computers, bag and elevate to prevent water damage. |
|  | Managers | Update phone lines. |

12 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | Storm Watch | All volunteers for Storm Watch should be here at this time. |
|  | Storm Watch | Ensure that all mobile equipment is inside and doors are secure. |
|  | Managers | Update phone lines. |

8 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | All Employees | All employees not required for Storm Watch should be gone from the plant site at this time. |
|  | Managers | Update phone lines. |

4 HOUR CHECKLIST

|  | Assigned to: | Task |
| --- | --- | --- |
|  | Storm Watch | Start emergency generators. |
|  | Storm Watch | Switch to channel 1-C. |
|  | Storm Watch | Shutdown radio tower. |
|  | Storm Watch | Open main 230 kV feeder to plant. |
|  | Storm Watch | Contact Dominion system operations desk 804-273-4242. |
|  | Storm Watch | Isolate and energize selected equipment from emergency generators. |
|  | Storm Watch | Monitor the storm and determine appropriate time to retreat to safe location. |
|  | Storm Watch | At this time, all preparations are complete and Storm Watch should only be concerned with keeping an eye on the storm and the plant. |
|  | Managers | Update phone lines. |