ISO 13485:2003 Documentation Requirements

First: Required Procedure

| # | Clause | Name |
| --- | --- | --- |
|  | 4.2.3 | Control of documents |
|  | 4.2.4 | Control of records |
|  | 6.3 | Maintenance Activities |
|  | 6.4 | Health, cleanliness and clothing if come in contact with the product can affect it |
|  | 6.4 | Work environment conditions, monitoring and control |
|  | 6.4 | Control of contaminated or potential contaminated products to prevent product contamination |
|  | 7.1 | Risk Management |
|  | 7.3.1 | Design and development |
|  | 7.4.1 | Purchasing process |
|  | 7.5.1.2.1 | Product cleanliness |
|  | 7.5.1.2.2 | Installation activities |
|  | 7.5.1.2.3 | Servicing activities |
|  | 7.5.2.1 | Validation of the application of the computer S/W |
|  | 7.5.2.2 | Sterilization process validation |
|  | 7.5.3.1 | Product identification |
|  | 7.5.3.1 | Product return identification from normal production |
|  | 7.5.3.2 | Product traceability |
|  | 7.5.5 | Product preservation |
|  | 7.5.5 | Control of limited shelf life products |
|  | 7.6 | Control of monitoring and measuring equipment |
|  | 8.2.1 | Feedback system (including customer complaint) |
|  | 8.2.1 | Post-production phase experience |
|  | 8.2.2 | Internal audit |
|  | 8.2.4.1 | Monitoring and measurement of product |
|  | 8.3 | Control of nonconforming product |
|  | 8.4 | Analysis of data |
|  | 8.5.1 | Advisory notice |
|  | 8.5.1 | Vigilance system |
|  | 8.5.2 | Corrective action |
|  | 8.5.3 | Preventive action |

Second: Required to be Documented

| # | Clause | Name |
| --- | --- | --- |
|  | 4.2.1 | Statement of the quality policy |
|  | 5.5.1 | Responsibilities and authorities |
|  | 7.2.2 | Products requirements |
|  | 7.3.1 | Design planning output |
|  | 7.4.1 | Supplier selection criteria |
|  | 7.5.2.1 | Defined criteria for review and approval of processes |
|  | 7.3.1 | Design and development |

Third: Required Records

| # | Clause | Name |
| --- | --- | --- |
|  | 5.6.1 | Management review |
|  | 6.2.2 | Education, training, skills and experience |
|  | 6.3 | Maintenance activities |
|  | 7.1 (d) | Evidence that the realization processes and resulting product fulfil requirements |
|  | 7.1 | Risk Management |
|  | 7.2.2 | Results of the review of requirements related to the product and actions arising from the review |
|  | 7.3.2 | Design and development inputs relating to product requirements |
| 7 | 7.3.3 | Design output |
|  | 7.3.4 | Results of design and development reviews and any necessary actions |
|  | 7.3.5 | Results of design and development verification and any necessary actions |
|  | 7.3.6 | Results of design and development validation and any necessary actions |
|  | 7.3.7 | Results of the review of design and development changes and any necessary actions |
|  | 7.4.1 | Suppler evaluation and necessary actions arising from the evaluation |
|  | 7.4.3 | Verification of purchased product |
|  | 7.5.1.1 | Batch file |
|  | 7.5.1.2.2 | Installation and installation verification |
|  | 7.5.1.2.3 | Servicing activities |
|  | 7.5.1.3 | Sterilization process parameters |
|  | 7.5.2 (d) | As required by the organization to demonstrate the validation of processes where the resulting output cannot be verified by subsequent monitoring or measurement |
|  | 7.5.2.1 | S/W validation |
|  | 7.5.2.2 | Sterilization process validation |
|  | 7.5.3 | The unique identification of the product, where traceability is a requirement |
|  | 7.5.3.2 | Traceability records |
|  | 7.5.4 | Customer property that is lost, damaged or otherwise found to be unsuitable for use |
|  | 7.5.5 | Control of limited shelf life products |
|  | 7.6 | Calibration and verification results |
|  | 7.6 | Results of calibration and verification of measuring equipment |
|  | 8.2.2 | Internal audit |
|  | 8.2.4.1 | Conformity to acceptance criteria |
|  | 8.2.4.1 | Indication of the person(s) authorizing release of product. |
|  | 8.3 | Nature of the product nonconformities and any subsequent actions taken, including concessions obtained |
|  | 8.4 | Analysis of data |
|  | 8.5.1 | Customer complaints, investigation and action taken |
|  | 8.5.2 | Results of corrective action |
|  | 8.5.3 | Results of preventive action |

Indicate items required for ISO 9001:2000 and ISO 13485:2003